SUBSIDENCE ADVISORY NSW (GUIDELINE 5) CERTIFICATION FORM FOR

BUILDERS/PRINCIPAL CONTRACTORS/OWNER BUILDERS

Construction or Complying Development Certificate Number:- ………./………./………

I          <Insert Name>       Of                                <Insert address>                         being the applicant / principal contractor / builder (cross out those not applicable) for the development at                  <Insert Development Address>                        ;hereby certify that;

- The reinforced concrete footings and slabs have been constructed to comply with AS 2870, as a minimum for Class H2 sites, as well as, AS 3600.

- The timber frame has been constructed in accordance with AS 1684.

- The masonry has been constructed and has the required articulation in  accordance AS 3700 and AS 4773.

- The gradients on wet area floors, roof gutters and drainage will remain serviceable when subjected to 7mm/m tilts.

- Flexible joints in pipes have been installed in accordance with AS3500 to minimum H2 site classification specifications to accommodate curvature in any plane, coupled with tensile or compressive strain.

- Branches, bends and valve stems shall be protected by flexible wrapping or shrouds to prevent shearing of the pipes as ground movement occurs.  Flexible joints shall be provided where pipes are connected to chambers or gullies.

- No internal or integrated retaining walls have been provided for this building..

Further, I am appropriately qualified and experienced to provide the certification for this component of the project.

License Number: <Insert License Number>

Contact: <insert phone number or email address>

Signature: <Insert Signature>

Date: <Insert Date>